2LINE Athene KÜB

Cable overlength box

- Can be used in combination with the 2LINE Athene BOX

- Enables excess length compensation of cascaded cable whips

- Used for depositing excess cable lengths

- Micro tube acceptance of Ø5 /Ø7 /Ø10 mm

- Use of gas/water - stop

- Self-locking closure

Scope of delivery

- Cable ties

- Wall fixation material (Universal plugs and screws)

- Optional: customer logo

Tests/Standards

Impact resistant IK07

Self-extinguishing according to UL94 V0 and UV-resistant

Material

Plastic, signal white RAL 9003

Dimensions

HxWxD[mm]: 90x96x27

Article Code

2LINE Athene KÜB

Article number

21073

Brand: ZweiCom-Hauff GmbH

Hauff-Technik GRIDCOM GmbH

Manufacturer information

Hauff-Technik GRIDCOM GmbH

Geiselroter Heidle 1

73494 Rosenberg, GERMANY

Telefon  +49 79 67 90 08 - 30

Fax +49 79 67 90 08 - 99