2LINE Optical Distribution Frame ODF 180 Active

Optical distribution frame

- Option for symmetric-inverted construction

- Possible choice for disassembled or preassembled delivery

- Expansion with 19" components

- Depth-adjustable 19" rails

- Integrated patch cable management

- Grounding option

- Height-adjustable frame base

- Fixation on the wall, on the ceiling, back to back or side by side

- Patch cable routing through cable duct on base frame or optionally on roof frame

- Top cabling entry

Scope of delivery

- 2LINE Cable duct system top and bottom (optional)

- 2LINE Depth adapter for increasing the installation depth (optional)

- 2LINE ODF door set, 2-piece with 3-point rod locking system, swivelling lever prepared for profile half cylinder (optional)

- 2LINE ODF side panel (optional)

- 1 pc. 2LINE ODF 180 Active

- 1 pc. Assembly instruction

Varianten

Dimension: 1800

Material

Stainless steel, steel galvanized and powder coated in RAL7035, plastic

Dimensions

HxWxD[mm]: 1800x900x300

Article Code

2LINE ODF 180 Aktiv 60x60 19" 46HE

Article number

auf Anfrage

Brand: ZweiCom-Hauff GmbH

Hauff-Technik GRIDCOM GmbH

Manufacturer information

Hauff-Technik GRIDCOM GmbH

Geiselroter Heidle 1

73494 Rosenberg, GERMANY

Telefon  +49 79 67 90 08 - 30

Fax +49 79 67 90 08 - 99