**SEGMENTO**

system cover for holding segments

For use in wall insert and plastic flange HSI150. For particularly gentle sealing of cables. ENHolds three segments SEG of your choice for sealing cables OD 5 - 31 mm.

**Scope of delivery**

1 piece of GMS lubricant

**Material**

System cover: polycarbonate

Wedge seal: EPDM

**Article Code**

HSI150 S3

Brand: ZweiCom-Hauff GmbH

**Hauff-Technik GRIDCOM GmbH**

**Manufacturer information**

Hauff-Technik GRIDCOM GmbH

Geiselroter Heidle 1

73494 Rosenberg, GERMANY

Telefon +49 79 67 90 08 - 30

Fax +49 79 67 90 08 - 99