corrugated pipe set

For entry into the pylon marker

For protected installation of the 2-LINE G-BOX cable system or a fiber optic cable up to the pylons. Features: Length 0.75 m, clip on both sides for connection to the 2LINE G-BOX, sealing grommet on one side.

Scope of delivery

- 2 pieces of corrugated pipe connection coupling

- 1 piece of rubber bushing

- 0.75 m corrugated pipe ID 24 mm

Article Code

2LINE G-BOX WR SET

Brand: ZweiCom-Hauff GmbH

Hauff-Technik GRIDCOM GmbH

Manufacturer information

Hauff-Technik GRIDCOM GmbH

Geiselroter Heidle 1

73494 Rosenberg, GERMANY

Telefon  +49 79 67 90 08 - 30

Fax +49 79 67 90 08 - 99